## Slide 1: Performing radiation therapy research using the open-source SlicerRT toolkit
Csaba Pinter1, Andras Lasso1, An Wang2, Gregory C. Sharp3, Kevin Alexander4, David Jaffray2, and Gabor Fichtinger1
1Laboratory for Percutaneous Surgery, Queen’s University, Kingston, ON, Canada 2University Health Network, Toronto, ON, Canada
3Department of Radiation Oncology, Massachusetts General Hospital, Boston, MA, USA
4Department of Physics, Eng. Phys., and Astrophysics, Queen’s University, Kingston, ON

## Slide 2
Bringing ideas and tools together
http://SlicerRT.org
Pinnacle³
Eclipse™
XiO®
DICOM-RT
Routine
Research
Data transfer
Conversions
2D/3D visualization
Dose analysis
Contour analysis
Segmentation, Registration
...
...

## Slide 3
Development principles
Based on consensus discussions with RT researchers
Cover most common RT research workflows
Leverage existing tools: 3D Slicer, Plastimatch
Free, open-source license (BSD)
  Open to integrate algorithms
  Contribute back to community
High quality software, developed using industrial standards
G. C. Sharp et al. 2010
S. Pieper et al. 2004
SlicerRT dashboard, performing automatic testing every night

## Slide 4
3D Slicer
Medical image analysis and visualization platform
Since 1997
$50M in funding (>2,000 years of labor)
Professionally engineered
1,000+ analysis functions
300K downloads for 4.x
www.slicer.org
3D Slicer downloads

## Slide 5
SlicerRT ecosystem
3D Slicer
Utilities
Streamlined applications
SlicerRT core
Several former SlicerRT features integrated:
Subject hierarchy, DICOM export, Transform visualizer, etc.
Common RT software tools:
DICOM-RT, Dose/Contour analysis, Beam planning, Batch processing
Acts as a platform

## Slide 6
Example use case: Image-guided RT
Determine daily displacement
Evaluate dosimetric improvement (DVH, gamma)
Export patient setup correction
Collaboration with PMH, Toronto
Dosimetric improvement after patient setup correction

## Slide 7
Example use case: Dose accumulation
Register anatomical images
Transform whole studies
Accumulate dose
Compute DVH
Collaboration with PMH, Toronto
Pinter et al., MedPhys, 2012
Evaluate plans using DVH
Visualize transforms, anatomy in 3D
Convenience features: Transform whole studies with a single click

## Slide 8
Example use case: Proton dose calculation
External beam planning
  Arbitrary dose engines
  Using same user interface
  Potentially replace TPS
Evaluate plan
Export plan for delivery
Collaboration with MGH, Boston and CRO, Italy
Desplanques et al., MedPhys, 2014
Poster at World Congress: PS04.087

## Slide 9
Example use case: SlicerRT in the cloud
Highly parallel computations
Very large amount of data
Self-driven RT scripts
Scripted analysis
Local control
Feasibility study: Find most similar daily plan from a database of plans
  Initialize daily ART plan from most similar one
Andrea et al., ImNO 2015 Talk at World Congress: SP130.6

## Slide 10
Example use case: Use custom MATLAB algorithm
Make MATLAB algorithms easier to use
Integrate into workflow
Rely on the power of SlicerRT and 3D Slicer
No programming
Collaboration with KGH, Kingston, ON
Alexander et al., AAPM 2015
DICOM-RT
Non-DICOM

## Slide 11
Example use case: Gel dosimetry analysis
Full 3D gel dosimetry
Simplified user interface
Collaboration with KGH, Kingston, ON
Alexander et al., IC3DDose, 2014
Talk at World Congress: SP057.3

## Slide 12: Example: MRI/US fusion for biopsy

## Slide 13
Sequences
Create and visualize of higher-dimension data nodes
  RT: Multi-fraction datasets, 4D CT
Sequence browser for selection and playback
Synchronized or real-time visualization
  In 2D and/or 3D
Handling of whole fraction dataset in each sequence node
Playback of a 4D cardiac CT dataset

## Slide 14
Feature group: DICOM-RT
Integrated into core DICOM import/export plugin mechanism
Supported data types:
  RT structure sets → Contours → Fiducial point
  RT dose map
  RT image
  RT plan isocenter, beams
  Spatial registration
  Planning CT, MR, etc.
Standard layout after loading phantom dataset
Notes: … main feature groups of SlicerRT
The first step of every RT research workflow … … seamless handling and loading of the data using only the DICOM browser in 3D Slicer

## Slide 15
Feature group: dose analysis
Dose analysis
  Dose volume histogram (DVH) calculation, comparison
  Gamma dose comparison
  Dose accumulation
  Isodose surfaces
  External beam planning platform
External beam planning
Dose-volume histogram
Isodose surfaces

## Slide 16
Feature group: contour analysis
Segment morphology
  Expand, shrink
  Combine using logical operators
Segment comparison
  Dice coefficient
  Hausdorff distance
Segment Morphology: Target volume expanded

## Slide 17
SlicerRT architecture

## Slide 18: Bird’s eye view
hardware
OpenIGTLink
Registration
Segmentation
...
3D Slicer
Calibration, synchronization, pre-processing, simulation, record&replay
Visualization
SlicerIGT
Pivot calibration
PLUS
software
SlicerRT
DICOM-RT import
VTK, ITK, CTK, QT, DCMTK, …
...
...
ProstateNav
Device interface
LumpNav
Gel dosimetry
...
...
Slicelets
(custom Slicer applets)
...
Tool watchdog
Model registration
Dose volume histogram
Dose comparison
Breach warning
Slicer extensions
DICOM
OpenIGTLink
Quantification
hundreds of devices (imaging, position tracking, various sensors, and manipulators)
Ultrasound
scanners
Robotic devices, manipulators
Navigation
systems
Surgical microscopes, endoscopes
MRI, CT, PET scanners

## Slide 19
PerkLab contributions to 3D Slicer
Slicer core commits in past 3 years: 726/2912 (25%)
Extension downloads (overall, as of 2017.02.)
#1: SlicerRT: 10400
#2: SlicerIGT: 5000
#3: Matlab Bridge: 4200
#7: Volume Clip: 3300
#16: Sequences: 2200
#27: PerkTutor: 1800
#34: GelDosimetry: 1700
Average extension: 1K
View from SlicerRT
Notes: SlicerRT is distributed as a 3D Slicer extension. It can be easily found and installed from the Slicer AppStore.

## Slide 20
Thank you for your attention!
csaba.pinter@queensu.ca
http://SlicerRT.org
Please join our weekly “SlicerRT clinic” meetings

## Slide 22
Appendix

## Slide 23
SlicerRT core highlights
Armed with the full power of 3D Slicer
DICOM-RT
Multi-fraction data handling
registration
Load and visualize DICOM-RT
Advanced visualizations
Multi-fraction data view

## Slide 24
SlicerRT core highlights
Contour analysis
  Multi-representation support
  Morphological operators
  Comparison methods
Dose analysis
  DVH calculation, comparison
  Gamma dose comparison
  Dose accumulation
  Isodose surfaces
  External beam planning platform
External beam planning
Contour representations
Dose-volume histogram

## Slide 25
Matlab bridge
Running Matlab functions directly from 3D Slicer
Takes input from the data loaded into Slicer
  Transfers and shows the results in Slicer when MATLAB execution is completed
GUI is generated automatically from a standard command-line interface definition XML file
  no GUI programming needed
No building of 3D Slicer or MEX files, etc. are needed

## Slide 26
Sequences
Create and visualize of higher-dimension data nodes
  RT: Multi-fraction datasets, 4D CT
Sequence browser for selection and playback
Synchronized or real-time visualization
  In 2D and/or 3D
Handling of whole fraction dataset in each sequence node
Playback of a 4D cardiac CT dataset

## Slide 27
Radiation therapy challenges
Research
Routine
Adaptive RT
Image-guided RT
Treatment planning
3D Dosimetry
Novel radiation protocols
Computational methods
Image registration
Image segmentation
Fractionation data management
Image/contour comparisons
Outcome prediction
Knowledge-based RT
?

## Slide 28: Translational research
Commercial treatment planning systems (TPS)
Existing research tools CERR, PLUNC, dicompyler, etc.
Expensive
Closed
Cover only routine clinical procedures
Stable
Unstable
User-friendly
Not extensible
Not flexible
Poor documentation
Large, non-modular code base
Insufficient user and developer support
Inconvenient
Well documented
Limited feature set
Flexible
Extensible
SlicerRT
Open-source
Platform-independent
Open-source?
Free