## Slide 1: SlicerRT Radiation therapy research toolkit for 3D Slicer
Csaba Pinter1, Andras Lasso1, An Wang2, David Jaffray2, and Gabor Fichtinger1
1Laboratory for Percutaneous Surgery, Queen’s University, Canada 2University Health Network, Toronto, ON, Canada
Notes: We are also users of Slicer … use it to create our own application-specific toolkit

## Slide 2
Background – Radiation therapy
Radiation therapy beams targeting a lung tumor
Notes: Starting from a bird’s eye view so that you can get a better grasp on the utility of this method

## Slide 3
Background – Radiation therapy
Linear accelerator

## Slide 4
Background – Radiation therapy
Very complex procedure!

## Slide 5
Structures
Targets: tumor and the added margins
Organs at risk: healthy tissue to spare, different factors
  Serial organ (spine, optic nerve) / parallel organ (liver, parotid)
Abdominal case
Head and neck case

## Slide 6
Beams and dose
Example beam configuration and dose distribution

## Slide 7
Goal: provide open-source platform for translational clinical research, mainly cancer
Themes:
  SlicerRT: radiotherapy toolkit for 3D Slicer
  SlicerIGT: Image-guided therapy with 3D Slicer
Funding by Cancer Care Ontario till 2016
PI & co-PIs: Gabor Fichtinger (Queen’s), David Jaffray (Toronto UHN), Terry Peters (Robarts)
SparKit project overview
Notes: Runs under the umbrella project SparKit: Software Platform and Adaptive Radiotherapy Kit
Originally funded by OCAIRO, didn’t cover platform development.

## Slide 8: Motivation behind SlicerRT
Commercial treatment planning systems (TPS)
Existing research tools CERR, PLUNC, dicompyler, etc.
Expensive
Closed
Cover only routine clinical procedures
Stable
Unstable
User-friendly
Not extensible
Not flexible
Poor documentation
Large, non-modular code base
Insufficient user and developer support
Inconvenient
Well documented
Limited feature set
Flexible
Extensible
SlicerRT
Open-source
Platform-independent
Open-source?
Free
Notes: Lack of a comprehensive and open radiation therapy toolkit
RT researchers use commercial TPSs along with existing research tools. Both categories have serious shortcomings when being used for research purposes.
This is somewhat analogous to the source of these tools, being the industry and the academy. Both sides have their own objectives and strengths, but what is in the middle, namely translational research, is seriously neglected … valley of death

## Slide 9
Software development approaches Level 1: C++ / OpenGL
+ | Performance
̶̶ | Re-inventing the wheel (parallel efforts) Development time and effort Maintainability Accessibility, sharing
Notes: … different ways to develop medical research software, to show what people do, what is the problem with some approaches, and why we do things the way we do.
Very fast applications can be written this way, but it takes a lot of otherwise unnecessary work
In my opinion … least desirable option … fun to implement renderer and threshold tool …

## Slide 10
Software development approaches Level 2: MATLAB code
+ | Easy prototyping (high-level functions) Platform-independence
0 | Need for commercial software (MATLAB)
̶̶ | Performance User interaction Maintainability
Notes: Great way to see whether an algo works or not, or compute data for research paper
it is hard to keep the code working after the student leaves, as it is usually a set of independent scripts somehow orchestrated together

## Slide 11
Software development approaches Level 3: Build on toolkits (VTK, ITK)
+ | High-quality foundations (community) Performance
0 | Re-use existing code Development time Platform-independence
̶̶ | Re-inventing the wheel Maintainability
Notes: - We can then go a step up from the low-level approach and use libraries for visualization and general image processing

## Slide 12
+ | High-quality foundations (community) Performance Re-use existing code Accessibility, sharing Platform-independence Development time and effort Quality control, regression testing
0 | Dependence on an ecosystem Bloated software, unneeded features
Software development approaches Level 4: Build on a platform
Notes: We arrived to our choice of development process
MeVisLab and MITK
Main takeaway (besides abundance of features) is the ability to leverage the platform's quality control and testing mechanisms, thus ensuring high software quality

## Slide 13
Development principles
Leverage existing tools and parallel efforts: 3D Slicer1, Plastimatch2
“Hub” for RT data analysis and comparison
Cover most common RT research workflows
Free, open-source license (BSD)
Open to integrate algorithms
Extensive documentation
1 S. Pieper, M. Halle, and R. Kikinis, 3D SLICER. Proceedings of the 1st IEEE International Symposium on Biomedical Imaging: From Nano to Macro (Brigham and Women’s Hospital, Boston, MA, 2004), pp. 632–635.
2 G. C. Sharp, R. Li, J. Wolfgang, G. Chen, M. Peroni, M. F. Spadea, S. Mori, J. Zhang, J. Shackleford, and N. Kandasamy, “Plastimatch: An open source software suite for radiotherapy image processing,” in Proceedings of the XVIth International Conference on the Use of Computers in Radiotherapy (ICCR) (Amsterdam, the Netherlands, 2010).
Pinnacle³
Eclipse™
SlicerRT
DICOM-RT
DICOM-RT
MATLAB
DICOM-RT
XiO®
DICOM-RT
Notes: Approach is to leverage… By doing so, we can minimize parallel developments of for example visualization or registration tools, that are otherwise crucial parts of an RT research toolkit.
We aim SlicerRT to be a hub for…The hub approach is illustrated on the right side. It shows that SlicerRT cooperates with multiple treatment planning systems and Matlab, using their native formats.

## Slide 14
3D Slicer
RT import (DICOM)
Visualization (volumes, models, 2D/3D, etc.)
Processing (registration, segmentation, etc.)
Analysis (error metrics, measurements, image fusion, etc.)
RT-specific analysis (dose comparison, DVH, …)
RT export (DICOM, Matlab, …)
General workflow overview
SlicerRT components
3D Slicer components
Notes: This diagram explains the general workflow that SlicerRT supports.
…It is followed by the analysis of the data using both 3D Slicer and * SlicerRT tools and algorithms…

## Slide 15
Feature group: DICOM-RT import
Integrated into core DICOM import plugin mechanism
Supported data types:
  RT structure sets → Contours → Fiducial point
  RT dose map
  RT image
  RT plan isocenter, beams
  Spatial registration
  Planning CT, MR, etc.
Standard layout after loading phantom dataset
Notes: … main feature groups of SlicerRT
The first step of every RT research workflow … … seamless handling and loading of the data using only the DICOM browser in 3D Slicer

## Slide 16
Importing DICOM-RT files
DICOM RT import plugin, integrated in the DICOM plugin mechanism
Examines files and creates “loadables”
Loadables appear in the list when selecting patient/study/series
Takes charge of loading when selected and load button clicked
DICOM browser window
Notes: seamless handling and loading of the data using only the DICOM browser …
… common with MITK

## Slide 17
Feature group: contour analysis
Contours module: Multiple representations (automatic conversion)
  Ribbon model
  Rasterized volume
  Closed surface model
Contour morphology
  Expand, shrink
  Combine using logical operators
Contour comparison
  Dice coefficient
  Hausdorff distance
Notes: The next feature group is contour analysis, that incorporates several modules in SlicerRT.
Next slide

## Slide 18
Contours module
Multiple representations (automatic conversion)
  Ribbon model
  Rasterized volume
  Closed surface model
Contours module UI
Notes: Improving this feature is one of our main focus now…. rasterize a model to a volume, … more complex … a student of ours will carry part of this out in DKFZ in Heidelberg this summer. … skip inconvenient ribbon phase

## Slide 19
Contour morphology module
Expand, shrink
Combine using logical operators
Contour Morphology module UI
Target volume expanded
Notes: margins … composite structures

## Slide 20
Contour comparison module
Hausdorff distance
Dice coefficient
Contour comparison module UI

## Slide 21
Feature group: Dose analysis
Dose volume histogram (plot visualization + metrics)
Dose accumulation
Dose comparison (gamma)
Isodose contours / surfaces
External beam planning (photon, proton)
Registration
  BSpline registration
  Landwarp registration

## Slide 22
Dose volume histogram module
Dose Volume Histogram module UI
DVH with standard four-up quantitative layout
Compare dose volume histograms

## Slide 23: Dose metrics
Available metrics:
Total volume
Min, max, mean dose
V metrics: for user-defined levels, results in cc and %
D metrics: for user-defined levels in cc and %
Values can be exported to CSV file for further analysis.
DVH metrics in Dose Volume Histogram module

## Slide 24
DVH comparison module
Dose Accumulation module UI

## Slide 25
Dose accumulation module
Dose Accumulation module UI

## Slide 26
Isodose module
Isodose contours and surfaces
Computes
Isodose lines
Isodose surfaces
Isodose module UI

## Slide 27
Dose comparison module
Provides gamma dose comparison
Dose Comparison module UI
Gamma volume example

## Slide 28
External beam planning
This module provide basic framework for RT planning and dose calculation for photon and proton
Photon MLC beam created in external beam planning module
Notes: This module provide basic framework for RT planning and dose calculation.
1. Visualize RT plan. 1A. QA purposes 1B. IMRT optimization (once they have a nice dose matrix, they want to show the beams overlaid with the dose)
2. Dose calculation

## Slide 29
External beam planning - proton
Aperture
Range compensator
Target
Beam dose distribution
External beam planning module UI
Notes: Spherical target at the center of a cylinder.
Choose target in UI -> Aperture, conform to the target
Range compensator: black=thin, gray=thicker

## Slide 30
Plastimatch modules
Modules provided by the library
Registration
  BSpline deformable registration
  LandWarp – landmark deformable registration
  XFormWarp – warp by non-linear transform
External beam planning - proton dose computation

## Slide 31
Subject hierarchy
New concept for organizing data
Nice and intuitive way of organizing and handling data Bring basic features in a data-centered tree view, such as
  Show/hide
  Transform branch
Extendable through plugins Broad API allowing many customizations, such as
  DICOM export
  Registration
Subject hierarchy module widget
Notes: Our other current focus of research and development is data management …
many nice features … overviewing the loaded data inconvenient … familiar to TPS and eval. ws.

## Slide 32
Subject hierarchy - plugins
Default
DICOM
Volumes
Registration
Parse local data
Contours
RT objects
Many more
ParseLocalData plugin in action
Notes: Plugins providing “roles”
Wide range of problems to solve here: context menu actions can go a long way (see PLD)
Black: core plugins, Blue: plugins provided by SlicerRT, Green: everybody can contribute!

## Slide 33
Gel dosimetry analysis
“Slicelet” for gel dosimetry analysis workflow
Wizard-like simplified user interface
Notes: basically a Slicer module that includes a full layout, and can be run separately from the main Slicer window, thus allowing a simplified, workflow-based interface, so that the user can focus on the task at hand
… in detail tomorrow

## Slide 34
Matlab bridge
Separate extension allowing running Matlab functions directly from 3D Slicer
Takes the input from the data loaded into Slicer and visualizes the results in Slicer right after the execution is completed
The GUI is generated automatically from a standard command-line interface definition XML file (no GUI programming needed)
No building of 3D Slicer or MEX files, etc. are needed

## Slide 35
Software quality
Extensive automatic testing done on multiple platforms every night
Validated against other software packages (Pinnacle, CERR, …)
Automatic test infrastructure for automatic verification and validation
Test results reported to the web-based dashboard
http://slicer.cdash.org/index.php?project=Slicer4
Notes: The quality of our software, which means stability, reliability, accuracy, flexibility, extensibility and maintainability is ensured by following the strict and proven development processes we adapted, and the verification and validation performed by the automated testing system. The automated unit and application tests run …
The reliability and accuracy of the SlicerRT algorithms are ensured through a series of validation tests, in course of which our results are compared to the results of other software packages, such as Pinnacle or CERR.

## Slide 36
Collection of RT-specific modules, includes
Distributed as a 3D Slicer extension: can be downloaded, installed, upgraded using the extension manager in Slicer
SlicerRT extension for 3D Slicer
SlicerRT extension in the 3D Slicer app store (free)
Notes: SlicerRT is distributed as a 3D Slicer extension. It can be easily found and installed from the Slicer AppStore.

## Slide 37
Next steps
Planned for the next 6 months:
Segmentations
External beam planning
Scripting examples
More testing and validation
Detailed plan: https://www.assembla.com/spaces/slicerrt/tickets

## Slide 38
Thank you for your attention!