## Slide 1: Tutorial: Orthovoltage radiation therapy dose calculation
Csaba Pinter
Laboratory for Percutaneous Surgery, Queen’s University, Kingston, ON, Canada

## Slide 2: Learning objective
This tutorial demonstrates how to create an orthovoltage radiation therapy plan and calculate dose distribution.
Computed approximated orthovoltage dose

## Slide 3: Overview
Install required software
Load data from DICOM
Create treatment plan
Setup orthovoltage engine parameters
Calculate dose

## Slide 4: 1/1. Install 3D Slicer
Download 3D Slicer preview from https://download.slicer.org/
Find the downloaded 3D Slicer package on your computer
Follow the usual steps to install an application
  Different for each operating system

## Slide 5: 1/2. Install SlicerRT extension
or

## Slide 6: 1/3. Install SlicerRT extension

## Slide 7: 1/4. Install EGSnrc
Follow the instructions on the EGSnrc wiki page: https://github.com/nrc-cnrc/EGSnrc/wiki/install-EGSnrc-on-windows

## Slide 8: 2/1. Import DICOM dataset

## Slide 9: 2/2. Load DICOM dataset

## Slide 10: 2/3. Data loaded
Phantom data loaded
Switch to Data module to check loaded objects

## Slide 11: 3/1. Switch to planning module

## Slide 12: 3/2. Create and setup plan
Select CT, segmentation, target, dose engine, and set prescription
1. Disable automatic isocenter placement 2. Drag&drop isocenter

## Slide 13: 3/3. Create and setup beam
Clicking the Edit button switches to the Beams module
Set geometry

## Slide 14: 4/1. Set EGSnrc paths and inputs
Phase space file contains properties of incident particles from source. It is different for each machine and energy, and needs to be created individually.

## Slide 15: 4/2. Set ‘phantom’ parameters
‘Phantom’ is EGSnrc’s file format for the CT
1. Set sensible voxel size so the input size does not exceed limits
1
1
1
2
2
2
Optional: Create ROI to restrict the area of the CT that participates in dose computation

## Slide 16: 4/3. Set dose parameters
Change dose parameters as necessary.
For approximated dose calculations (while geometry etc. is being finalized), decrease “Number of histories” for faster computation.

## Slide 17: 5/1. Calculate dose

## Slide 18: 5/2. Output dose is visualized

## Slide 19
Congratulations!