## Slide 1: Tutorial: Dose surface histogram calculation
Csaba Pinter
Laboratory for Percutaneous Surgery, Queen’s University, Kingston, ON, Canada

## Slide 2: Learning objective
This tutorial demonstrates how to compute dose surface histogram for a structure set from a dose volume.
Computed dose surface histogram

## Slide 3: Overview
Install required software
Load data from DICOM (structure set and dose volume)
Calculate dose volume histogram

## Slide 4: 1/1. Install 3D Slicer
Download 3D Slicer preview from https://download.slicer.org/
Find the downloaded 3D Slicer package on your computer
Follow the usual steps to install an application
  Different for each operating system

## Slide 5: 1/2. Install SlicerRT extension
or

## Slide 6: 1/3. Install SlicerRT extension

## Slide 7: 2/1. Import DICOM dataset

## Slide 8: 2/2. Load DICOM dataset

## Slide 9: 2/3. Data loaded
Phantom data loaded
Switch to Data module to check loaded objects

## Slide 10: 3/1. Switch to Dose Volume Histogram module

## Slide 11: 3/2. Set inputs and compute
Select dose volume and segmentation
Enable “Dose surface histogram”
Click “Compute DVH” to start computation

## Slide 12: 3/3. Output dose is visualized
Click to show dose surface histogram plot
Dose surface histogram metric table
Dose surface histogram plot

## Slide 13
Congratulations!