## Slide 1: Tutorial: Prostate MRI-US Contour Propagation
Csaba Pinter
Laboratory for Percutaneous Surgery, Queen’s University, Kingston, ON, Canada

## Slide 2: Learning objective
This tutorial demonstrates how to perform contour propagation (‘fusion’) of prostate MRI contours onto ultrasound for brachytherapy planning and guidance
Fusion done: MRI contours superimposed on ultrasound prostate

## Slide 3: Overview
Install required software
Load data from DICOM
Contour propagation
Evaluate results
Export propagated contours to DICOM

## Slide 4: 1/1. Install 3D Slicer
Download 3D Slicer preview from https://download.slicer.org/
Find the downloaded 3D Slicer package on your computer
Follow the usual steps to install an application
  Different for each operating system

## Slide 5: 1/2. Install SlicerRT extension
or

## Slide 6: 1/3. Install SlicerRT extension

## Slide 7: 1/4. Install SegmentRegistration extension

## Slide 8: 2/1. Import DICOM dataset

## Slide 9: 2/2. Load DICOM dataset
1. Load studies containing both the MRI and the US images and segmentations
2. Use Ctrl+click for multiple selection
3. Click ‘Load’

## Slide 10: 2/3. Data loaded
Data loaded
Switch to Data module to check loaded objects

## Slide 11: 3/1. Switch to Prostate MRI-US Contour Propagation module

## Slide 12: 3/2. Select data objects and perform fusion
Data will be pre-selected automatically based on DICOM hierarchy, but need to make sure it’s correct.
1. Review selection in each drop-down box and change if needed
2. Click ‘Perform registration’ button

## Slide 13: 4/1. Check registration stages

## Slide 14: 4/2. Calculate similarity metrics

## Slide 15: 4/3. Fiducial-based evaluation
If target registration error (TRE) needs to be calculated, then use the Fiducial-based evaluation section:
1. Place fiducials at important anatomical positions on the US image
2. Repeat for MRI
3. Click ‘Calculate fiducial errors’ button

## Slide 16: 5/1. Export propagated contours to DICOM
To use the propagated contours in a planning or guidance system, they need to be exported to DICOM.
Two different DICOM export options are available that export the propagated data in the existing studies by a single button click.

## Slide 17
Congratulations!